## Planification et Exigences
Matériel concerné | Entreprise | Actions de maintenance préventive | Date ou Fréquence
Traitements phytosanitaires | FALL MADINA PHYTO SERVICE | Désinsectisation (cafards) | Trimestriel (Mars-Juin-Sep-Dec)
traitement moustiques
Dératisation
Split et climatiseurs | Arlington Froid | Dépose du conditionneur d'air | Bi-annuel (Mai Octobre)
Nettoyage complet
Peinture intérieure et/ou extérieure
Graissage du moteur ventilateur
Vérification du circuit électrique et gaz
Repose du conditionnement
Charge de gaz
Contrôle du fonctionnement
|  | Dépoussiérage du filtre | Mensuel
Appareils biomédicaux | INSA Biomedical Consulting | Nettoyage | Semestriel (Janvier et Juillet)
Vérification
Test
|  | Calibration | Voir Qualipro
Appareils informatiques | Technicien informatique interne à NEST | Dépoussiérage | Mensuel
Mises à jour des postes, des derniers patchs de sécurité et des dernières définitions de virus
Vérification du bon fonctionnement
Évaluation du niveau de vulnérabilité des équipements informatiques (si nécessaire)
Téléphonie | Mr CISSE | Dépoussiérage | Trimestriel (Mars, Juin, Septembre et Décembre)
Vérification du bon fonctionnement
Sauvegarde de la configuration des équipements téléphonique (si nécessaire)
Evaluation du niveau de vulnérabilité du système téléphonique
Mise à jour des correctifs systèmes et logiciels des téléphones
Groupe électrogène | M.Faye & M.Kanté | Vidange | Semestriel (Avril Septembre)
Vérification du niveau d'eau
Vérification du niveau d'huile
Vérification et nettoyage du filtre à air
Ascenseur | Technosud | Entretien | Mensuel
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
| #REF! | #REF! | #REF!
Planifications et Exigences de la Maintenance Prévenventive
01/09/2021
PS04-S0001
V7